WG145-1 DATA SHEET

HANDRAIL WALL PROTECTION SYSTEM

-145 mm Height

-45 mm Wall Offset

-2 mm thick ARFEN Vinyl Cover

-ARFEN Vinyl Decorative Bracket

-Continuous Aluminium Retainer

-Reinforced with TPE insert

Specifications:

-Impact Resistance

-Fire Resistance

-Antibacterial PVC Cover

-Perfect patterned ARFEN right and left return accessories; WG006 & WG005

-Perfect patterned ARFEN internal and external corner accessories; WG007-1 & WG007-2